SPREE LOG SHEET     

         SERVICE
                   
             Station:______________

Date:______________ Julian:____________  Time, GMT:_______________ Local:_________________

Field Team:___________________________________________________________________________

STATION STATUS

Site Condition:________________________________________________________________________

DAS S/N: _________________________                                                        CLOCK S/N:_____________

DAS STATUS (Control -> Status)

 
Acq:   Start  ON/OFF        


Events: ___________                                             RAM: _______  of  _________ (Kb)


Disk 1   ___________  of  ___________                Disk 2   ___________  of  ___________


Temp: ___________    Power:  input:____________    bkup chg:___________


ch: _________            DS:___________ 

CLOCK STATUS (Contol -> Status -> GPS)


sec since LL:  days:________:hr:________:min:________:sec:_________

               phase diff: __________________________________________________

SENSOR STATUS: Sensor Type:______________  Sensor S/N:___________________ 

CENTER MASS POSITION OFFSETS

	
	Initial
	 Final
	 Attempts

	Vertical
	
	
	

	N-S
	
	
	

	E-W
	
	
	


NOTE: re-center if mass position offsets are more than 1.5 V

MONITOR SENSOR: (Control ->  Monitor -> stream 2 ->


ch 1:  Midpt:__________        Range:____________            tap test: OK / NO            


ch 2:  Midpt:__________        Range:____________            tap test: OK / NO  


ch 3:  Midpt:__________        Range:____________            tap test: OK / NO

1. Calibrate Sensor  (Control -> Aux. Control -> Test 1-3)    

YES_______       NO________

2. Stop Acquisition (Control -> Status -> Stop Acq)

3. Disk Status (Control -> Status -> Update)

           Disk 1   ___________  of  ___________                      Disk 2   ___________  of  ___________

4. Check power system: (check while PV and battery NOT connected)

PV1: voltage: _________     current: __________          PV2: voltage: __________     current: __________

Bat 1: voltage:_________    chg. state: ________          Bat 2: voltage:_________    chg. state: ________

Were power checks done with batteries and solar panels disconnected?  __________________________ 

5. Get  RT130 parameters from the DAS  (Work with Config -> load -> from DAS) and check parameters            

6. Record compact flash serial numbers before swap

Disk#1 S/N:______________ SIZE: _________Gb       Disk #2 S/N:______________ SIZE: _________Gb

7. SWAP COMPACT FLASH CARDS AND RECORD NEW SERIAL NUMBERS after the swap

Disk#1 S/N:______________ SIZE: _________Gb        Disk#2 S/N:______________ SIZE: _________Gb

8. CLEAR RAM  (Control -> RAM -> Clear)

9. RESET SYSTEM (Control -> Reset)

10. FORMAT FLASH DISK (Control -> Format Disk ->       Disk 1: ❑             Disk 2: ❑  










Station:______________

11. WRITE .CFG FILE TO DISK (Control>Status>DAS LP/WP-> WRITE)     ................❑  YES  ❑  NO

12. CHECK CLOCK STATUS (Contol -> Status -> GPS)  (clock MUST lock BEFORE starting acquisition)

sec since LL:  days:________:hr:________:min:________:sec:________ 

13. START ACQUISITION: (Control -> Status -> Start Acq)

         
start time:  days:________:hr:________:min:________:sec:________

14. VERIFY RAM INCREASING (Control -> Status -> Update):  ....................................❑  YES  ❑  NO

15. FORCE RAM DUMP to DISK  (Control -> Ram -> Dump)

    verify RAM DECREASES  and disk  INCREASES (Control -> Status -> Update) .....❑  YES  ❑  NO

16. BEFORE LEAVING SITE, RECHECK THE FOLLOWING TO ENSURE OPERATION

     DAS STATUS (Control -> Status)


Acq:   Start  ON/OFF        


Events: ___________                                             RAM: _______  of  _________ (Kb)


Disk 1   ___________  of  ___________                Disk 2   ___________  of  ___________


Temp: ___________      Power:  input:____________    bkup chg:___________


ch: _________            DS:___________ 

    Make sure that all plugs and connections have been replaced -  esp. SERIAL PORT

RECORD  OTHER COMMENTS AND NOTES:

